## Table 1
N-° GJW2024-2185 1 Noise Test 1.1 General description The noise test is performed according to the standard: ISO 3744:2010; Test environment: scene; Air temperature and humidity: (21.5 23.4)°C, (79.6 80.2)%RH; Atmospheric pressure: 101.3 kPa; Installation condition: Place on the ground Test voltage/frequency: 400V- 50Hz; Measurement surface: parallelepiped; Measurement radius- d—1m: Measurement surface figure! | page 4 of 7
P5 P6
Fig. 3 Measurement surface figure
1.2 Technical requirements (Assessment criterion)
LT1-ZX(ZS)-R-0002-general A0
P2
P1

## Table 2
Ne GJW2024-2185 1.3 Test results |  |  |  | page 5 of 17
Test Result
Working mode | 10% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) |  | Microphone position No. | Sound pressure level dB(A)
1 | 64.6 | 17 | 57.9 |  | 33 | 59.7
2 | 62.2 | 18 | 59.3 |  | 34 | 59.3
3 | 59.8 | 19 | 61.2 |  | 35 | 61.g
4 | 57.4 | 20 | 60.5 |  | 36 | 62.7
5 | 59.6 | 21 | 62.2 |  | 37 | 59.3
6 | 61.2 | 22 | 61.1 |  | 38 | 57.3
7 | 60.9 | 23 | 62.3 |  | 3g | ss.z
8 | 59.3 | 24 | 59.9 |  | 40 | 58.1
9 | 59.7 | 25 | 60.7 |  | 41 | 59.2
10 | 62.8 | 26 | 59.3 |  | 42 | 58.9
11 | 63.1 | 27 | 59.2 |  | 43 | 61.6
12 | 62.2 | 28 | 58.8 |  | 44 | 60.6
13 | 60.6 | 29 | 58.1 |  | 45 | 60.9
14 | 56.7 | 30 | 58.6 |  | 46 | 64.4
15 | 60 | 31 | 57.5 |  | 47 | 60.8
16 | 58.7 | 32 | 60.1 |  | 48 | 62.2
Averaged sound pressure level dB(A) | 60.2
Sound power level dB(A) | 77.6

## Table 3
Test Result
Working mode | 20% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 58.8 | 17 | 57.1 | 33 | 59.6
2 | 58 | 18 | 55.6 | 24 | 57.8
3 | 58.3 | 19 | 58.5 | 35 | 57.8
4 | 59.6 | 20 | 56.6 | 36 | 57.6
5 | 62.3 | 21 | 58.7 | 37 | 57.2
6 | 62.6 | 22 | 57.9 | 38 | 58.4
7 | 61.6 | 23 | 58.4 | 39 | 56
8 | 58.3 | 24 | 59.4 | 40 | 60.3
9 | 57.8 | 25 | 56.3 | 41 | 57.9
10 | 58.2 | 26 | 57.8 | 42 | 59.4
11 | 58.8 | 27 | 61.4 | 43 | 59.9
12 | 58.4 | 28 | 57.2 | 44 | 61.8
13 | 59.2 | 29 | 57.7 | 45 | 59.5
14 | 57.4 | 30 | 59.8 | 46 | 56.6
15 | 59.5 | 31 | 59.1 | 47 | 58.7
16 | 58.3 | 32 | 60.3 | 48 | 59.6
Averaged sound pressure level dB(A) | 58.4
Sound power level dB(A) | 75.8

## Table 4
Test Result
Working mode | 30% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 59.6 | 17 | 63.6 | 33 | 63.1
2 | 59.2 | 18 | 65.6 | 24 | 59.2
3 | 59.1 | 19 | 63.5 | 35 | 57.4
4 | 60.9 | 20 | 60.4 | 36 | 58.4
5 | 62.8 | 21 | 63.1 | 37 | 60
6 | 58.5 | 22 | 63.6 | 38 | 56.2
7 | 60.1 | 23 | 62.5 | 39 | 58.5
8 | 59.6 | 24 | 59.5 | 40 | 62.3
9 | 58.7 | 25 | 56.2 | 41 | 59.7
10 | 57.3 | 26 | 57.2 | 42 | 60.4
11 | 64.6 | 27 | 56.4 | 43 | 63.6
12 | 62.5 | 28 | 58.8 | 44 | 63.3
13 | 61 | 29 | 61 | 45 | 61.9
14 | 59.3 | 30 | 61.2 | 46 | 59.6
15 | 60.9 | 31 | 61.7 | 47 | 59.8
16 | 62.2 | 32 | 64.2 | 48 | 58
Averaged sound pressure level dB(A) | 60.9
Sound power level dB(A) | 78.3

## Table 5
Test Result
Working mode | 40% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 60.3 | 17 | 59.2 | 33 | 54.8
2 | 63.5 | 18 | 58.6 | 24 | 56.1
3 | 61.3 | 19 | 55.6 | 35 | 54.5
4 | 59.8 | 20 | 56.3 | 36 | 54.4
5 | 58.8 | 21 | 57.8 | 37 | 59.7
6 | 55.8 | 22 | 58.9 | 38 | 62.1
7 | 56.4 | 23 | 61 | 39 | 66.6
8 | 56.6 | 24 | 61.2 | 40 | 60.3
9 | 59.6 | 25 | 61.5 | 41 | 58.1
10 | 56.2 | 26 | 62.3 | 42 | 58.4
11 | 58.7 | 27 | 63.2 | 43 | 58.8
12 | 60.2 | 28 | 59.8 | 44 | 52.5
13 | 62.9 | 29 | 58.2 | 45 | 53.8
14 | 65.5 | 30 | 58.7 | 46 | 59.2
15 | 62.3 | 31 | 57.5 | 47 | 59.8
16 | 60.6 | 32 | 54.3 | 48 | 60.3
Averaged sound pressure level dB(A) | 59.7
Sound power level dB(A) | 77.1

## Table 6
Test Result
Working mode | 50% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 64.5 | 17 | 58.4 | 33 | 58.1
2 | 62.7 | 18 | 56.2 | 24 | 56.1
3 | 61.7 | 19 | 55.2 | 35 | 54.2
4 | 59.8 | 20 | 56.5 | 36 | 57.7
5 | 60.1 | 21 | 56.5 | 37 | 60
6 | 58.1 | 22 | 58 | 38 | 60.6
7 | 60.8 | 23 | 60.8 | 39 | 61.8
8 | 57.5 | 24 | 59.7 | 40 | 62.5
9 | 59.7 | 25 | 61.5 | 41 | 61.7
10 | 60.6 | 26 | 64.2 | 42 | 60.6
11 | 62.4 | 27 | 59.5 | 43 | 59.1
12 | 62.4 | 28 | 59.3 | 44 | 59.6
13 | 63.6 | 29 | 57.5 | 45 | 57.1
14 | 62.5 | 30 | 58.1 | 46 | 57.3
15 | 59.3 | 31 | 58.8 | 47 | 59
16 | 58.3 | 32 | 55.2 | 48 | 61.2
Averaged sound pressure level dB(A) | 59.8
Sound power level dB(A) | 77.2

## Table 7
Test Result
Working mode | 60% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 59.1 | 17 | 62.1 | 33 | 60.5
2 | 61 | 18 | 59.4 | 24 | 58.7
3 | 61.6 | 19 | 58.9 | 35 | 58
4 | 58.6 | 20 | 58.6 | 36 | 56.4
5 | 57.1 | 21 | 57.9 | 37 | 55.8
6 | 57.3 | 22 | 56.2 | 38 | 56.8
7 | 55.6 | 23 | 55 | 39 | 56.5
8 | 55.1 | 24 | 56.8 | 40 | 56.7
9 | 56.7 | 25 | 57.7 | 41 | 57.3
10 | 56.5 | 26 | 59 | 42 | 59.3
11 | 57.7 | 27 | 56 | 43 | 60.9
12 | 59.3 | 28 | 58.8 | 44 | 63.7
13 | 59.4 | 29 | 61.3 | 45 | 60.2
14 | 60.3 | 30 | 62.3 | 46 | 59.2
15 | 61.3 | 31 | 64.6 | 47 | 58.7
16 | 63 | 32 | 61.9 | 48 | 59.4
Averaged sound pressure level dB(A) | 59
Sound power level dB(A) | 76.4

## Table 8
Test Result
Working mode | 70% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 63.6 | 17 | 62.3 | 33 | 60
2 | 62.9 | 18 | 62.7 | 24 | 61.5
3 | 63.9 | 19 | 62.1 | 35 | 60.3
4 | 62.1 | 20 | 61.1 | 36 | 59.3
5 | 62.4 | 21 | 58.8 | 37 | 57.7
6 | 58.3 | 22 | 57.6 | 38 | 54.7
7 | 58.4 | 23 | 54.4 | 39 | 55.5
8 | 55.6 | 24 | 54.3 | 40 | 55.7
9 | 55.2 | 25 | 55.8 | 41 | 56.3
10 | 56.5 | 26 | 56.7 | 42 | 57.2
11 | 56.5 | 27 | 57.1 | 43 | 57.5
12 | 57.2 | 28 | 58.4 | 44 | 59.1
13 | 58.4 | 29 | 60.1 | 45 | 61.8
14 | 59.3 | 30 | 62 | 46 | 62.6
15 | 59.9 | 31 | 61.6 | 47 | 59.9
16 | 60.5 | 32 | 61.2 | 48 | 60.5
Averaged sound pressure level dB(A) | 59.5
Sound power level dB(A) | 76.9

## Table 9
Test Result
Working mode | 80% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 67.8 | 17 | 67.1 | 33 | 59.2
2 | 69.6 | 18 | 63.7 | 24 | 55.8
3 | 66.5 | 19 | 60.6 | 35 | 54.9
4 | 64.9 | 20 | 58.1 | 36 | 56.8
5 | 63 | 21 | 58.1 | 37 | 56.2
6 | 60.4 | 22 | 55.6 | 38 | 56.2
7 | 59.3 | 23 | 54.1 | 39 | 57.9
8 | 56.7 | 24 | 56.5 | 40 | 65
9 | 55 | 25 | 56.5 | 41 | 62.4
10 | 56.4 | 26 | 56.8 | 42 | 66.4
11 | 55.9 | 27 | 58.6 | 43 | 65.4
12 | 57.6 | 28 | 60.2 | 44 | 68.6
13 | 58.9 | 29 | 63.4 | 45 | 65.4
14 | 63.9 | 30 | 61.7 | 46 | 69
15 | 67.5 | 31 | 63 | 47 | 62.8
16 | 69.3 | 32 | 60.5 | 48 | 63.4
Averaged sound pressure level dB(A) | 63.2
Sound power level dB(A) | 80.6

## Table 10
Test Result
Working mode | 90% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 76.8 | 17 | 74 | 33 | 57.5
2 | 80.5 | 18 | 67.9 | 34 | 58.4
3 | 77 | 19 | 64.4 | 35 | 59.2
4 | 73.4 | 20 | 62.8 | 36 | 60.5
5 | 69.8 | 21 | 58.1 | 37 | 72.4
6 | 64.9 | 22 | 59.8 | 38 | 83.5
7 | 62.4 | 23 | 58.3 | 39 | 79.8
8 | 59.1 | 24 | 59.8 | 40 | 73.8
9 | 58.2 | 25 | 62 | 41 | 66.4
1o | sg.o | z6 | z7.1 | 42 | 62.5
11 | 59.5 | 27 | 83.4 | 43 | 58.9
12 | 61.7 | 28 | 80.6 | 44 | 59.9
13 | 69.3 | 29 | 75.7 | 45 | 61
14 | 79.1 | 30 | 69 | 46 | 77.7
15 | 82 | 31 | 63.8 | 47 | 72.6
16 | 79.7 | 32 | 61.5 | 48 | 73.4
Averaged sound pressure level dB(A) | 75.1
Sound power level dB(A) | 92.5

## Table 11
Test Result
Working mode | 100% power level
Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A) | Microphone position No. | Sound pressure level dB(A)
1 | 78.T | 17 | 74.7 | 33 | 58.3
2 | 81.9 | 18 | 67.8 | 34 | 60
3 | 79.8 | 19 | 64.9 | 35 | 61.3
4 | 74.9 | 20 | 63.7 | 36 | 65.6
5 | 70.7 | 21 | 58.7 | 37 | 80.2
6 | 66.2 | 22 | 59.2 | 38 | 85.6
7 | 64.1 | 23 | 59.2 | 39 | 82.3
8 | 60 | 24 | 60.6 | 40 | 77.4
9 | 58.7 | 25 | 67 | 41 | 68
10 | 60.2 | 26 | 78.3 | 42 | 64.g
11 | 60.3 | 27 | 84.1 | 43 | 57.7
12 | 61.9 | 28 | 81.8 | 44 | 59.4
13 | 70 | 29 | 81 | 45 | 59.1
14 | 78.1 | 30 | 68 | 46 | 62.1
15 | 83.2 | 31 | 64.9 | 47 | 74.4
16 | 80.9 | 32 | 59.4 | 48 | 75.2
Averaged sound pressure level dB(A) | 76.7
Sound power level dB(A) | 94.1

## Table 12
Test Result
Microphone position No. | Background noise level dB(A) | Microphone position No. | Background noise level dB(A) | Microphone position No. | Background noise level dB(A)
1 | 4g. | 17 | 48.7 | 33 | 49.7
2 | 50.3 | 18 | 50 | 34 | 48.6
3 | 51 | 19 | 49.6 | 35 | 49.5
4 | 50.6 | 20 | 50.6 | 36 | 50
5 | 49.9 | 21 | 50.7 | 37 | 50.2
6 | 50.2 | 22 | 49.8 | 38 | 49.3
7 | 49.2 | 23 | 51 | 39 | 50.1
8 | 50 | 24 | 50 | 40 | 51
9 | 51 | 25 | 47.9 | 41 | 49.3
10 | 51.2 | 26 | 48.7 | 42 | 49.6
11 | 4g.7 | z7 | 50.4 | 43 | 50.4
12 | 49.4 | 28 | 50.3 | 44 | 48.9
13 | 48.4 | 29 | 49.1 | 45 | 51.2
14 | 49.2 | 30 | 49.2 | 46 | 50.3
15 | 48 | 31 | 48.9 | 47 | 48.6
16 | 49.7 | 32 | 48 | 48 | 48.3
Averaged sound pressure level dB(A) | 49.8

## Table 13
„° 1.4 Test equipment
№ | Equipment N9 | Type / Model | Equipment name | Calibration expiration date
1 | VGDY-0257 | PXI-1033 | 6 channel data logger | 2024-05-17
2 | HJ-000095 | 4231 | Calibrator | 2024-07-06
3 | HJ-000062 | 5m | Long steel tape | 2024-09-11
4 | HJ-000138 | DK-2850 | Reference Sound Source | 2025-01-25